SEWS 9.2.1 (1 of 6)	Sheet 1 of ______

| SCREENING EVALUATION WORK SHEET (SEWS) |  |  |
| --- | --- | --- |
| Equipment ID No.: | Equipment Class: Cable and Conduit Raceway Systems |  |
| Cable tray/Conduit identification: |  |  |
| Systems: |  |  |
| Building: | Floor El. (S): | Location: |
| Performance Category: |  |  |
| Tray System or Conduit Boundary |  |  |
| Cable tray/Conduit description: |  |  |
| Description or sketch (attach sheets as necessary): |  |  |
| Functionality Requirement |  |  |
| q Maintain electrical cable function q Maintain position |  |  |

SEWS 9.2.1 (2 of 6)	Sheet 2 of ______

| SCREENING EVALUATION WORK SHEET (SEWS) (Cont.) |  |
| --- | --- |
| Equipment ID No.: | Equipment Class: Cable and Conduit Raceway Systems |
| Cable tray/Conduit identification: |  |
| Systems: |  |
| Seismic Capacity vs. Demand (Chapter 5) |  |
| 1. Seismic Capacity based on: q Reference Spectrum q GERS q Existing documentation 2. Elevation where equipment receives seismic input Seismic Demand Spectrum (SDS) based on: q In-structure response spectrum (IRS) per DOE-STD-1020 q Other in-structure response spectrum (determine appropriate experience data scale factor) q Design basis earthquake (DBE) per DOE-STD-1020 q Other Scale Factor (SF) Experience Data Factor (FED) Does capacity exceed demand? Y N U Reference: |  |
| Inclusion Rules Review (Section 9.2.1) |  |
| 1. Cable tray spans Y N U N/A 2. Conduit spans Y N U N/A 3. Tie downs Y N U N/A 4. Channel nuts Y N U N/A 5. Rigid boots Y N U N/A 6. Beam clamps Y N U N/A 7. Cast-iron inserts Y N U N/A |  |

SEWS 9.2.1 (3 of 6)	Sheet 3 of ______

| SCREENING EVALUATION WORK SHEET (SEWS) (Cont.) |  |
| --- | --- |
| Equipment ID No.: | Equipment Class: Cable and Conduit Raceway Systems |
| Cable tray/Conduit identification: |  |
| Systems: |  |
| General Walkdown Review (Section 9.2.1) |  |
| 1. Anchor bolts Y N U N/A 2. Concrete condition Y N U N/A 3. Corrosion Y N U N/A 4. Sagging raceways Y N U N/A 5. Broken or missing components Y N U N/A 6. Restraint of cables Y N U N/A 7. Aging of plastic ties Y N U N/A 8. System hardspots Y N U N/A Welded connections Y N U N/A Components and sharp edges Y N U N/A Bare cables Y N U N/A Cable fill/ties Y N U N/A Short rods Y N U N/A |  |
| Interaction Effects (Chapter 7) |  |
| 1. Soft targets free from impact by nearby equipment or structures Y N U N/A 2. If equipment contains sensitive essential relays, equipment free from all impact by nearby equipment or structures Y N U N/A 3. Attached lines have adequate flexibility Y N U N/A 4. No collapse of overhead equipment, distribution systems, or masonry walls Y N N/A 5. Equipment is free from credible and significant seismic-induced flood and spray concerns Y N N/A 6. No credible seismic-induced fire concerns Y N N/A 7. No other “two over one” concerns as defined in DOE-STD-1021 Y N N/A 8. No other concerns Y N U N/A Is equipment free of interaction effects? Y N U |  |

SEWS 9.2.1 (4 of 6)	Sheet 4 of ______

| SCREENING EVALUATION WORK SHEET (SEWS) (Cont.) |  |  |
| --- | --- | --- |
| Equipment ID No.: | Equipment Class: Cable and Conduit Raceway Systems |  |
| Cable tray/Conduit identification: |  |  |
| Systems: |  |  |
| Analytical Review Support Selection |  |  |

SEWS 9.2.1 (5 of 6)	Sheet 5 of ______

| SCREENING EVALUATION WORK SHEET (SEWS) (Cont.) |  |  |
| --- | --- | --- |
| Equipment ID No.: | Equipment Class: Cable and Conduit Raceway Systems |  |
| Cable tray/Conduit identification: |  |  |
| Systems: |  |  |
| Analytical Review Data Sheet |  |  |
| Room No.: _____________________________ Selection No.: ___________________________ Location: ________________________ |  |  |
| Description and Sketch: |  |  |
| Additional Notes: |  |  |

SEWS 9.2.1 (6 of 6)	Sheet 6 of ______

| SCREENING EVALUATION WORK SHEET (SEWS) (Cont.) |  |  |
| --- | --- | --- |
| Equipment ID No.: | Equipment Class: Cable and Conduit Raceway Systems |  |
| Cable tray/Conduit identification: |  |  |
| Systems: |  |  |
| Comments |  |  |
| Screening Walkdown(s): Date Time Team Members |  |  |
| Recommend Resolution |  |  |
| q Maintenance action: q Further evaluation: q Retrofit design: q Other: q No further action required. Equipment is seismically adequate. |  |  |
| All aspects of the equipment's seismic adequacy have been addressed. Evaluation by: Date: (All team members) |  |  |